## 69_Loads_avalia
[8 empty] | Bus2 | Bus2e | 3BT | 7BT | 8BT | 10BT | 11BT | Zonas |  | barra | [17 empty] | P | Q | S | FP | %carga | Total
New | Load,5BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | LP | bus1= | 10BT | conn | = | delta | kv | = | 0.22 | kW | = | 48.5 | kvar | = | 346090 | Vminpu= | 0.9 | daily | = | curve_load_10BT | 48.5 | 34.609 | 59.5822 | 0.814 | 4.092% | 1456.0035
New | Load,6BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 11BT | conn | = | delta | kv | = | 0.22 | kW | = | 48.5 | kvar | = | 346090 | Vminpu= | 0.9 | daily | = | curve_load_11BT | 48.5 | 34.609 | 59.5822 | 0.814 | 4.092%
New | Load,7BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 12BT | conn | = | delta | kv | = | 0.22 | kW | = | 2.71 | kvar | = | 18210 | Vminpu= | 0.9 | daily | = | curve_load_12BT | 2.71 | 1.821 | 3.265 | 0.83002 | 0.2242%
New | Load,8BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 13BT | conn | = | delta | kv | = | 0.22 | kW | = | 2.71 | kvar | = | 18210 | Vminpu= | 0.9 | daily | = | curve_load_13BT | 2.71 | 1.821 | 3.265 | 0.83002 | 0.2242%
New | Load,9BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 15BT | conn | = | delta | kv | = | 0.22 | kW | = | 15176 | kvar | = | 101980 | Vminpu= | 0.9 | daily | = | curve_load_15BT | 15.176 | 10.198 | 18.2842 | 0.83001 | 1.256%
ew | Load,10BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 16BT | conn | = | delta | kv | = | 0.22 | kW | = | 16.5 | kvar | = | 117750 | Vminpu= | 0.9 | daily | = | curve_load_16BT | 16.5 | 11.775 | 20.2707 | 0.81398 | 1.392%
ew | Load,11BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 17BT | conn | = | delta | kv | = | 0.22 | kW | = | 16.5 | kvar | = | 117750 | Vminpu= | 0.9 | daily | = | curve_load_17BT | 16.5 | 11.775 | 20.2707 | 0.81398 | 1.392%
ew | Load,12BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 19BT | conn | = | delta | kv | = | 0.22 | kW | = | 0.316 | kvar | = | 0.212 | Vminpu= | 0.9 | daily | = | curve_load_19BT | 0.316 | 0.212 | 0.38053 | 0.83043 | 0.02613%
ew | Load,13BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 20BT | conn | = | delta | kv | = | 0.22 | kW | = | 37983 | kvar | = | 271000 | Vminpu= | 0.9 | daily | = | curve_load_20BT | 37.983 | 27.1 | 46.6596 | 0.81404 | 3.205%
ew | Load,15BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 21BT | conn | = | delta | kv | = | 0.22 | kW | = | 1762 | kvar | = | 11840 | Vminpu= | 0.9 | daily | = | curve_load_21BT | 1.762 | 1.184 | 2.1229 | 0.83002 | 0.1458%
ew | Load,16BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 23BT | conn | = | delta | kv | = | 0.22 | kW | = | 9.39 | kvar | = | 66700 | Vminpu= | 0.9 | daily | = | curve_load_23BT | 9.39 | 6.67 | 11.5179 | 0.81526 | 0.7911%
ew | Load,17BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 25BT | conn | = | delta | kv | = | 0.22 | kW | = | 4667 | kvar | = | 33300 | Vminpu= | 0.9 | daily | = | curve_load_25BT | 4.667 | 3.33 | 5.7332 | 0.81403 | 0.3938%
ew | Load,19BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R4 | bus1= | 26BT | conn | = | delta | kv | = | 0.22 | kW | = | 4667 | kvar | = | 33300 | Vminpu= | 0.9 | daily | = | curve_load_26BT | 4.667 | 3.33 | 5.7332 | 0.81403 | 0.3938%
ew | Load,20BT | phases | = | 3 | model | = | 1 | 1 | [6 empty] | 2E | bus1= | 27BT | conn | = | delta | kv | = | 0.44 | kW | = | 8667 | kvar | = | 61850 | Vminpu= | 0.9 | daily | = | curve_load_27BT | 8.667 | 6.185 | 10.6476 | 0.81399 | 0.7313%
ew | Load,21BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 27eBT | con | = | delta | kv | = | 0.44 | kW | = | 8667 | kvar | = | 61850 | Vminpu= | 0.9 | daily | = | curve_load_27eBT | 8.667 | 6.185 | 10.6476 | 0.81399 | 0.7313%
ew | Load,23BT | phases | = | 3 | model | = | 1 | 1 | [6 empty] | 2E | bus1= | 28BT | conn | = | delta | kv | = | 0.44 | kW | = | 8667 | kvar | = | 61850 | Vminpu= | 0.9 | daily | = | curve_load_28BT | 8.667 | 6.185 | 10.6476 | 0.81399 | 0.7313%
ew | Load,25BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 28eBT | con | = | delta | kv | = | 0.44 | kW | = | 8667 | kvar | = | 61850 | Vminpu= | 0.9 | daily | = | curve_load_28eBT | 8.667 | 6.185 | 10.6476 | 0.81399 | 0.7313%
ew | Load,26BT | phases | = | 3 | model | = | 1 | 1 | [6 empty] | 2E | bus1= | 32BT | conn | = | delta | kv | = | 0.44 | kW | = | 4582 | kvar | = | 32600 | Vminpu= | 0.9 | daily | = | curve_load_32BT | 4.582 | 3.26 | 5.6234 | 0.81481 | 0.3862%
ew | Load,27BT | phases | = | 3 | model | = | 1 | 1 | [6 empty] | 2E | bus1= | 33BT | conn | = | delta | kv | = | 0.44 | kW | = | 6501 | kvar | = | 45490 | Vminpu= | 0.9 | daily | = | curve_load_33BT | 6.501 | 4.549 | 7.9345 | 0.81933 | 0.545%
ew | Load,28BT | phases | = | 3 | model | = | 1 | 1 | [6 empty] | 2E | bus1= | 34BT | conn | = | delta | kv | = | 0.44 | kW | = | 1.92 | kvar | = | 12900 | Vminpu= | 0.9 | daily | = | curve_load_34BT | 1.92 | 1.29 | 2.3131 | 0.83005 | 0.1589%
ew | Load,32BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 |  |  |  |  | R1 | bus1= | 36BT | conn | = | delta | kv | = | 0.22 | kW | = | 26.35 | kvar | = | 188000 | Vminpu= | 0.9 | daily | = | curve_load_36BT | 26.35 | 18.8 | 32.3692 | 0.81405 | 2.223%
ew | Load,33BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 |  |  |  |  | R1 | bus1= | 37BT | conn | = | delta | kv | = | 0.22 | kW | = | 28226 | kvar | = | 914920 | Vminpu= | 0.9 | daily | = | curve_load_37BT | 28.226 | 91.492 | 95.747 | 0.2948 | 6.576%
ew | Load,34BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 |  |  |  |  | R1 | bus1= | 38BT | conn | = | delta | kv | = | 0.22 | kW | = | 128226 | kvar | = | 914920 | Vminpu= | 0.9 | daily | = | curve_load_38BT | 128.226 | 91.492 | 157.5205 | 0.81403 | 10.82%
w | Load,27eBT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 |  |  |  | R2 | bus1= | 40BT | conn | = | delta | kv | = | 0.22 | kW | = | 13512 | kvar | = | 94420 | Vminpu= | 0.9 | daily | = | curve_load_40BT | 13.512 | 9.442 | 16.4841 | 0.8197 | 1.132%
w | Load,28eBT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 |  |  |  | R2 | bus1= | 41BT | conn | = | delta | kv | = | 0.22 | kW | = | 1202 | kvar | = | 0.894 | Vminpu= | 0.9 | daily | = | curve_load_41BT | 1.202 | 0.894 | 1.498 | 0.8024 | 0.1029%
ew | Load,66BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 42BT | conn | = | delta | kv | = | 0.44 | kW | = | 1449 | kvar | = | 11620 | Vminpu= | 0.9 | daily | = | curve_load_42BT | 1.449 | 1.162 | 1.8574 | 0.78013 | 0.1276%
ew | Load,67BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 43BT | conn | = | delta | kv | = | 0.44 | kW | = | 8787 | kvar | = | 63220 | Vminpu= | 0.9 | daily | = | curve_load_43BT | 8.787 | 6.322 | 10.8249 | 0.81174 | 0.7435%
ew | Load,68BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 44BT | conn | = | delta | kv | = | 0.44 | kW | = | 8 | kvar | = | 57080 | Vminpu= | 0.9 | daily | = | curve_load_44BT | 8 | 5.708 | 9.8276 | 0.81404 | 0.675%
ew | Load,70BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 48BT | conn | = | delta | kv | = | 0.44 | kW | = | 0.667 | kvar | = | 240250 | Vminpu= | 0.9 | daily | = | curve_load_48BT | 0.667 | 24.025 | 24.0343 | 0.027752 | 1.651%
ew | Load,89BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 50BT | conn | = | delta | kv | = | 0.44 | kW | = | 414667 | kvar | = | 2959100 | Vminpu= | 0.9 | daily | = | curve_load_50BT | 414.667 | 295.91 | 509.4227 | 0.81399 | 34.99%
ew | Load,90BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 51BT | conn | = | delta | kv | = | 0.44 | kW | = | 10667 | kvar | = | 76120 | Vminpu= | 0.9 | daily | = | curve_load_51BT | 10.667 | 7.612 | 13.1045 | 0.814 | 0.9%
ew | Load,36BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 53BT | conn | = | delta | kv | = | 0.44 | kW | = | 75.67 | kvar | = | 538730 | Vminpu= | 0.9 | daily | = | curve_load_53BT | 75.67 | 53.873 | 92.8884 | 0.81463 | 6.38%
ew | Load,37BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I1 | bus1= | 54BT | conn | = | delta | kv | = | 0.44 | kW | = | 19.67 | kvar | = | 139120 | Vminpu= | 0.9 | daily | = | curve_load_54BT | 19.67 | 13.912 | 24.0926 | 0.81643 | 1.655%
ew | Load,38BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | R3 | bus1= | 55BT | conn | = | delta | kv | = | 0.22 | kW | = | 6 | kvar | = | 42820 | Vminpu= | 0.9 | daily | = | curve_load_55BT | 6 | 4.282 | 7.3713 | 0.81397 | 0.5063%
ew | Load,40BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | R3 | bus1= | 56BT | conn | = | delta | kv | = | 0.22 | kW | = | 6 | kvar | = | 42820 | Vminpu= | 0.9 | daily | = | curve_load_56BT | 6 | 4.282 | 7.3713 | 0.81397 | 0.5063%
ew | Load,41BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R5 | bus1= | 57BT | conn | = | delta | kv | = | 0.22 | kW | = | 9333 | kvar | = | 66600 | Vminpu= | 0.9 | daily | = | curve_load_57BT | 9.333 | 6.66 | 11.4656 | 0.814 | 0.7875%
ew | Load,42BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | R5 | bus1= | 58BT | conn | = | delta | kv | = | 0.22 | kW | = | 9333 | kvar | = | 66600 | Vminpu= | 0.9 | daily | = | curve_load_58BT | 9.333 | 6.66 | 11.4656 | 0.814 | 0.7875%
ew | Load,43BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 |  |  |  |  | LP | bus1= | 5BT | conn | = | delta | kv | = | 0.22 | kW | = | 0.878 | kvar | = | 0.72 | Vminpu= | 0.9 | daily | = | curve_load_5BT | 0.878 | 0.72 | 1.1355 | 0.77325 | 0.07799%
ew | Load,44BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 66BT | conn | = | delta | kv | = | 0.44 | kW | = | 8 | kvar | = | 57090 | Vminpu= | 0.9 | daily | = | curve_load_66BT | 8 | 5.709 | 9.8282 | 0.81399 | 0.675%
ew | Load,48BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 67BT | conn | = | delta | kv | = | 0.44 | kW | = | 8 | kvar | = | 57090 | Vminpu= | 0.9 | daily | = | curve_load_67BT | 8 | 5.709 | 9.8282 | 0.81399 | 0.675%
ew | Load,50BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 68BT | conn | = | delta | kv | = | 0.44 | kW | = | 0.392 | kvar | = | 0.325 | Vminpu= | 0.9 | daily | = | curve_load_68BT | 0.392 | 0.325 | 0.5092 | 0.76983 | 0.03497%
ew | Load,51BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 |  |  |  |  | LP | bus1= | 6BT | conn | = | delta | kv | = | 0.22 | kW | = | 13455 | kvar | = | 99820 | Vminpu= | 0.9 | daily | = | curve_load_6BT | 13.455 | 9.982 | 16.7534 | 0.80312 | 1.151%
ew | Load,53BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 70BT | conn | = | delta | kv | = | 0.44 | kW | = | 2 | kvar | = | 14270 | Vminpu= | 0.9 | daily | = | curve_load_70BT | 2 | 1.427 | 2.4569 | 0.81404 | 0.1687%
ew | Load,54BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 |  |  |  | LP | bus1= | 7BT | conn | = | delta | kv | = | 0.22 | kW | = | 24887 | kvar | = | 178100 | Vminpu= | 0.9 | daily | = | curve_load_7BT | 24.887 | 17.81 | 30.6032 | 0.81321 | 2.102%
ew | Load,55BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 89BT | conn | = | delta | kv | = | 0.44 | kW | = | 3076 | kvar | = | 87870 | Vminpu= | 0.9 | daily | = | curve_load_89BT | 3.076 | 8.787 | 9.3098 | 0.3304 | 0.6394%
ew | Load,56BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | LP | bus1= | 8BT | conn | = | delta | kv | = | 0.22 | kW | = | 10 | kvar | = | 72080 | Vminpu= | 0.9 | daily | = | curve_load_8BT | 10 | 7.208 | 12.327 | 0.81123 | 0.8466%
ew | Load,57BT | phases | = | 3 | model | = | 1 | 1 | 1 | [5 empty] | 1E | bus1= | 90BT | conn | = | delta | kv | = | 0.44 | kW | = | 3076 | kvar | = | 87870 | Vminpu= | 0.9 | daily | = | curve_load_90BT | 3.076 | 8.787 | 9.3098 | 0.3304 | 0.6394%
ew | Load,58BT | phases | = | 3 | model | = | 1 | 1 | 1 | 1 | 1 | 1 |  |  | LP | bus1= | 9BT | conn | = | delta | kv | = | 0.22 | kW | = | 9333 | kvar | = | 66660 | Vminpu= | 0.9 | daily | = | curve_load_9BT | 9.333 | 6.666 | 11.4691 | 0.81375 | 0.7877%

## Planilha3
| Potência fornecida pelo gerador: |  |  | 504.8 | kVA
| Aparente (kVA) | Reativa (kvar) | Fator de Potência: | -316.4 | kvar
Inicial: | 504.8 | -316.4 | 0.7792 | 0.7792 | FP
Melhorada: | 385 | 0.8 | 1
Redução: | 0.76268
| Linha (kW) | Transformador (kW) | Total (kW) | 0.24
Inicial: | 71.3 | 1 | 72.3
Melhorada: | 63.5 | 1 | 64.4
|  | Potência na Carga (kW): | Perdas na Rede(%)
|  | 1107.9 | 5.82

## Resumo_Potencias_Sessoes
Barra: | S (KVA) | P (kW) | Q (kvar) | FP | %Carga | % Capacitor
Bus2 | 1456.0035 | 1107.908 | 897.931 | 0.76092 | 100% | 31.03% | <--- Cargas Antes do Banco do Capacitor
Bus2e | 1418.8374 | 1077.571 | 876.462 | 0.75947 | 97.45% | 29.22%
Bus3 | 1356.3001 | 1035.693 | 833.348 | 0.76362 | 93.15% | 25.96%
Bus7 | 1052.7746 | 838.558 | 620.862 | 0.79652 | 72.31% | 4.615%
Bus8 | 1004.1892 | 798.957 | 592.716 | 0.79562 | 68.97% | 0% | <--- Cobertas pelo Banco de Capacitor
Bus10 | 294.3408 | 240.047 | 170.318 | 0.81554 | 20.22%
Bus11 | 220.0162 | 179.547 | 127.145 | 0.81606 | 15.11%

## Planilha2
kvar
| 300 | 500 | 900
Results for Actor ID # 1 CPU selected : -1 Status = SOLVED Solution Mode = Snap Number = 1 Load Mult = 1.000 Devices = 177 Buses = 118 Nodes = 354 Control Mode =STATIC Total Iterations = 2 Control Iterations = 1 Max Sol Iter = 2 - Circuit Summary - Year = 0 Hour = 0 Max pu. voltage = 0.9996 Min pu. voltage = 0.90034 Total Active Power: 1.18019 MW Total Reactive Power: 0.949255 Mvar Total Active Losses: 0.0722855 MW, (6.125 %) Total Reactive Losses: 0.0513253 Mvar Frequency = 60 Hz Mode = Snap Control Mode = STATIC Load Model = PowerFlow | Results for Actor ID # 1 CPU selected : -1 Status = SOLVED Solution Mode = Snap Number = 1 Load Mult = 1.000 Devices = 178 Buses = 118 Nodes = 354 Control Mode =STATIC Total Iterations = 4 Control Iterations = 1 Max Sol Iter = 4 - Circuit Summary - Year = 0 Hour = 0 Max pu. voltage = 0.99969 Min pu. voltage = 0.90345 Total Active Power: 1.17388 MW Total Reactive Power: 0.659933 Mvar Total Active Losses: 0.0660401 MW, (5.626 %) Total Reactive Losses: 0.0480071 Mvar Frequency = 60 Hz Mode = Snap Control Mode = STATIC Load Model = PowerFlow | Results for Actor ID # 1 CPU selected : -1 Status = SOLVED Solution Mode = Snap Number = 1 Load Mult = 1.000 Devices = 178 Buses = 118 Nodes = 354 Control Mode =STATIC Total Iterations = 2 Control Iterations = 1 Max Sol Iter = 2 - Circuit Summary - Year = 0 Hour = 0 Max pu. voltage = 0.99975 Min pu. voltage = 0.90548 Total Active Power: 1.17333 MW Total Reactive Power: 0.465638 Mvar Total Active Losses: 0.0654268 MW, (5.576 %) Total Reactive Losses: 0.0473203 Mvar Frequency = 60 Hz Mode = Snap Control Mode = STATIC Load Model = PowerFlow ------------------------ | Results for Actor ID # 1 CPU selected : -1 Status = SOLVED Solution Mode = Snap Number = 1 Load Mult = 1.000 Devices = 178 Buses = 118 Nodes = 354 Control Mode =STATIC Total Iterations = 4 Control Iterations = 1 Max Sol Iter = 4 - Circuit Summary - Year = 0 Hour = 0 Max pu. voltage = 0.99988 Min pu. voltage = 0.90946 Total Active Power: 1.18071 MW Total Reactive Power: 0.073506 Mvar Total Active Losses: 0.0728615 MW, (6.171 %) Total Reactive Losses: 0.0496504 Mvar Frequency = 60 Hz Mode = Snap Control Mode = STATIC Load Model = PowerFlow ------------------------